|  | Date | Inspection Report Number | Areas of Concern |
| --- | --- | --- | --- |
| 1 | 20-nov-24 | IR-FAH-PJPC-HSE-11-320/01-00 | material certificate for header box |
| 2 | 22-jan-25 | IR-FAH-PJPC-HSE-01-363/01-00 | Pully, tapper Bush, Vibration Switch MTC |
| 3 | 11-feb-25 | IR-FAH-PJPC- HSE-02-370/01-00 | Report of UT and RT for header box |
| 4 | 23-feb-25 | IR-FAH-PJPC-HSE-02-381/01-00 | PT Report for Main structure |
| 5 | 10,11,12 Mar- 25 | IR-FAH-PJPC-HSE-03-390/01-00 | Hardness and PWHT report and PT report for header box |
| 6 | 7-Apr-25 | IR-FAH-PJPC-HSE-04-397/01-00 | Dimensional, Welding, NDT, Color report for tube bundle |