## Rev.02
|  |  | Customer: | DELTA GmbH
|  |  | Project Name: | BOC
|  |  | End User Site: | GERMANY
|  |  | End User: | DELTA
|  |  | Quote No.: | 24-0151.VS
|  |  | Revision / Date: | 02 / 25-07-2024
ITEM | Q.ty | TAG | Valve type | Valve Model | Size | Rating | End Connections | Valve Body material | Trim type | Plug Material | Plug facing | Balanced | Packing | Bonnet type | Leakage class | NACE | Actuator type | Actuator Model | Fail Action | Hand wheel | Positioner | Airset | SOV | LS | UNIT SELLING PRICE | EXTD SELLING PRICE | DELIVERY TIME
1 | 2 | LCV-0001A/B | Globe | G-Stream | 1" | CL 300 | Integral Flanges RF | A352 LCB / LCC | Contoured | A479 316-316L | Stellite 6 | Un-balanced | PTFE V-Ring | Extended | Class IV | - | Pneumatic Piston Spring Return | L-ACT 25 | Close | - | Rotork YT-3300 | Sitecna | - | - | 3298 | 6596 | 24 weeks
Notes | [24 empty] | TOT VALVE PRICE | 6596
1) | POSITIONER: Smart Hart 4-20mA, FM/CSA,Ex-ia, IP65, Aluminum body material, electrical conn. M20x1,5,Pneumatic conn. 1/4 NPT made by Rotork | [23 empty] | FAT | Included
2) | AIRFILTER: 1/4 NPT, Al body material, Filtration 5 Micron. | [23 empty] | Painting | Included
3) | Tubings & Fittings shall be SS | [23 empty] | Packing | Included
4) | Expanders & Reducers will not be under our scope of supply | [23 empty] | Documentation | Included
[25 empty] | TOTAL OFFER | 6596
[25 empty] | Ex-Works VSI Workshop | Shipment not included
OPTION
[25 empty] | Spare parts for commissioning | 132
[25 empty] | Spare parts for 2 years | 330
[25 empty] | Witness inspection per day | 800

## Foglio1 (hidden)
Included
Splitted