## Unit A
| Item | P&ID No. | Line Number | Tag No. | Valve Type | Material | Connection |  |  | Fluid | Design Condition |  | Operating Condition |  | Insulation | Heat tracing | Heat tracing Max. Temperature | QTY | Total | Pipe Class | Remark
[7 empty] | Size | Standard | Type |  | Press. (bar G) | Temp (℃) | (bar G) Press. | Temp (℃)
Needle Valves | 1 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | TUBING | NV-RU0001A03 | NEEDLE VALVE | SS316 | 1/2" | NPT-F | Thraded 3000# | Refrigerant Liquid | FV/22 | -45 ~ 120 | 3.7 | -0.17 | N | Y | 40 | 1 | 1 | SS 316 Tubing
| 2 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | TUBING | NV-RU0001A04 | NEEDLE VALVE | SS316 | 1/2" | NPT-F | Thraded 3000# | Refrigerant gas | FV/22 | -45 ~ 120 | 18.8 | 73.5 | N | Y | 40 | 1 | 1 | SS 316 Tubing
| 3 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | TUBING | NV-RU0001A05 | NEEDLE VALVE | SS316 | 3/8" | NPT-F | Thraded 3000# | Lube Oil | FV/22 | -45 ~ 120 | 3.9 | 0.88~73.5 | N | Y | 40 | 1 | 1 | SS 316 Tubing
| Item | P&ID No. | Line Number | Tag No. | Valve Type | Body /Trim material | Connection |  |  | Fluid | Design Condition |  | Operating Condition |  | Insulation | QTY | Total | Pipe Class | Remark | Note
[7 empty] | Size | Standard | Type |  | Press. (bar G) | Temp (℃) | (bar G) Press. | Temp (℃)
| 4 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 1"-PR-RU0001A16-Ml3R1-N | GLO-RU0001A02 | GLOBE VALVE | LTCS/SS | 25mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.8 | 73.5 | N | 1 | 1 | ML3R1
| 5 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 1 1/2"-PR-RU0001A07-ML3R1-N | FBB-RU0001A02 | BALL VALVE | LTCS/SS | 40mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1
| 6 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 2"-PR-RU0001A18-ML3R1-N | FBB-RU0001A03 | BALL VALVE | LTCS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1
| 7 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | RU0001A-D-02 | RBL-RU0001A05 | BALL VALVE | LTCS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1 |  | Trim Line
| 8 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | RU0001A-D-02 | RBL-RU0001A06 | BALL VALVE | LTCS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1 |  | Trim Line
| 9 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | RU0001A-D-02 | RBL-RU0001A02 | BALL VALVE | LTCS/SS | 20mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1 |  | Trim Line
| 10 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | 1 1/2"-PR-RU0001A06-ML3R1-N | RBL-RU0001A41 | BALL VALVE | LTCS/SS | 40mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | Y | 1 | 1 | ML3R1 | With Extended stem
| 11 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | 1 1/2"-PR-RU0001A06-ML3R1-N | RBL-RU0001A42 | BALL VALVE | LTCS/SS | 20mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | Y | 1 | 1 | ML3R1 | With Extended stem
| 12 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | 1 1/2"-PR-RU0001A06-ML3R1-N | GLO-RU0001A03 | GLOBE VALVE | LTCS/SS | 25mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | Y | 1 | 1 | ML3R1 | With Extended stem
| 13 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | 2"-PR-RU0001A09-ML3R1-C | RBL-RU0001A43 | BALL VALVE | LTCS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.86 | 0.88 | Y | 1 | 1 | ML3R1 | With Extended stem
| 14 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | RU0001A-E-02 | RBL-RU0001A08 | BALL VALVE | LTCS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.07 | Y | 1 | 1 | ML3R1 | With Extended stem
| 15 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | RU0001A-E-02 | RBL-RU0001A44 | BALL VALVE | LTCS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.07 | Y | 1 | 1 | ML3R1 | With Extended stem
| 16 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | RU0001A-E-02 | RBL-RU0001A09 | BALL VALVE | LTCS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.07 | Y | 1 | 1 | ML3R1 | With Extended stem | Trim Line
| 17 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | RU0001A-E-02 | RBL-RU0001A10 | BALL VALVE | LTCS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.07 | Y | 1 | 1 | ML3R1 | With Extended stem | Trim Line
| 18 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | RU0001A-E-02 | RBL-RU0001A61 | BALL VALVE | LTCS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.07 | Y | 1 | 1 | ML3R1 | With Extended stem | Trim Line
| 19 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 1"-PR-RU0001A13-ML3R1-N | RBL-RU0001A03 | BALL VALVE | LTCS/SS | 25mm | 300# | Flanged | Refrigerant | [5 empty] | 1 | 1 | ML3R1
| 20 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 1"-PR-RU0001A13-ML3R1-N | CHV-RU0001A04 | CHECK VALVE | LTCS/SS | 25mm | 300# | Flanged | Refrigerant | [5 empty] | 1 | 1 | ML3R1
| 21 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | Tubing | SG-RU0001A02 | Sight Glass | SS316/SS316 | 3/8" | NPT-F | Thraded | Refrigerant | FV/22 | -45 ~ 120 | 18.8 | -0.17 | N | 1 | 1 | Tubing
| 22 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | Tubing | YST-RU0001A02 | Strainer | SS316/SS316 | 1/2" | NPT-F 300# | Thraded (FPT) | Refigerant | FV/22 | -45 ~ 120 | 3.7 | -0.17 | N | 1 | 1 | Tubing |  |  | Mesh Screen Material: SS316 Mesh Size: 90
| 23 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | Instrument Air | RBL-RU0001A45 | BALL VALVE | SS316/SS316 | 15mm | NPT-F Rating 800# | Thraded | Lube Oil | FV/22 | -45 ~ 120 | 7 | 70 | N | 1 | 1 | Instrument Air
| 24 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | Control Valve | LCV-RU0001A-01 | BALL VALVE | SS316/SS316 | 1" |  |  |  | FV/23 | -45 ~ 121 | [5 empty] | Control Valve

## Unit B
| Item | P&ID No. | Line Number | Tag No. | Valve Type | Material | Connection |  |  | Fluid | Design Condition |  | Operating Condition |  | Insulation | Heat tracing | Heat tracing Max. Temperature | QTY | Total | Pipe Class | Remark
[7 empty] | Size | Standard | Type |  | Press. (bar G) | Temp (℃) | (bar G) Press. | Temp (℃)
Needle Valves | 1 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | TUBING | NV-RU0001B03 | NEEDLE VALVE | SS316 | 1/2" | NPT-F | Thraded 3000# | Refrigerant Liquid | FV/22 | -45 ~ 120 | 3.7 | -0.17 | N | Y | 40 | 1 | 1 | SS 316 Tubing
| 2 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | TUBING | NV-RU0001B04 | NEEDLE VALVE | SS316 | 1/2" | NPT-F | Thraded 3000# | Refrigerant gas | FV/22 | -45 ~ 120 | 18.8 | 73.5 | N | Y | 40 | 1 | 1 | SS 316 Tubing
| 3 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | TUBING | NV-RU0001B05 | NEEDLE VALVE | SS316 | 3/8" | NPT-F | Thraded 3000# | Lube Oil | FV/22 | -45 ~ 120 | 3.9 | 0.88~73.5 | N | Y | 40 | 1 | 1 | SS 316 Tubing
| Item | P&ID No. | Line Number | Tag No. | Valve Type | Body /Trim material | Connection |  |  | Fluid | Design Condition |  | Operating Condition |  | Insulation | QTY | Total | Pipe Class | Remark | Note
[7 empty] | Size | Standard | Type |  | Press. (bar G) | Temp (℃) | (bar G) Press. | Temp (℃)
| 4 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 1"-PR-RU0001B16-Ml3R1-N | GLO-RU0001B02 | GLOBE VALVE | LTCS/SS | 25mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.8 | 73.5 | N | 1 | 1 | ML3R1
| 5 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 1 1/2"-PR-RU0001B07-ML3R1-N | FBB-RU0001B02 | BALL VALVE | LTCS/SS | 40mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1
| 6 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 2"-PR-RU0001B18-ML3R1-N | FBB-RU0001B03 | BALL VALVE | LTCS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1
| 7 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | RU0001B-D-02 | RBL-RU0001B05 | BALL VALVE | LTCS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1 |  | Trim Line
| 8 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | RU0001B-D-02 | RBL-RU0001B06 | BALL VALVE | LTCS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1 |  | Trim Line
| 9 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | RU0001B-D-02 | RBL-RU0001B02 | BALL VALVE | LTCS/SS | 20mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1 |  | Trim Line
| 10 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | 1 1/2"-PR-RU0001B06-ML3R1-N | RBL-RU0001B41 | BALL VALVE | LTCS/SS | 40mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | Y | 1 | 1 | ML3R1 | With Extended stem
| 11 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | 1 1/2"-PR-RU0001B06-ML3R1-N | RBL-RU0001B42 | BALL VALVE | LTCS/SS | 20mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | Y | 1 | 1 | ML3R1 | With Extended stem
| 12 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | 1 1/2"-PR-RU0001B06-ML3R1-N | GLO-RU0001B03 | GLOBE VALVE | LTCS/SS | 25mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | Y | 1 | 1 | ML3R1 | With Extended stem
| 13 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | 2"-PR-RU0001B09-ML3R1-C | RBL-RU0001B43 | BALL VALVE | LTCS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.86 | 0.88 | Y | 1 | 1 | ML3R1 | With Extended stem
| 14 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | RU0001B-E-02 | RBL-RU0001B08 | BALL VALVE | LTCS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.07 | Y | 1 | 1 | ML3R1 | With Extended stem
| 15 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | RU0001B-E-02 | RBL-RU0001B44 | BALL VALVE | LTCS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.07 | Y | 1 | 1 | ML3R1 | With Extended stem
| 16 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | RU0001B-E-02 | RBL-RU0001B09 | BALL VALVE | LTCS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.07 | Y | 1 | 1 | ML3R1 | With Extended stem | Trim Line
| 17 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | RU0001B-E-02 | RBL-RU0001B10 | BALL VALVE | LTCS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.07 | Y | 1 | 1 | ML3R1 | With Extended stem | Trim Line
| 18 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | RU0001B-E-02 | RBL-RU0001B61 | BALL VALVE | LTCS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.07 | Y | 1 | 1 | ML3R1 | With Extended stem | Trim Line
| 19 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 1"-PR-RU0001B13-ML3R1-N | RBL-RU0001B03 | BALL VALVE | LTCS/SS | 25mm | 300# | Flanged | Refrigerant | [5 empty] | 1 | 1 | ML3R1
| 20 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 1"-PR-RU0001B13-ML3R1-N | CHV-RU0001B04 | CHECK VALVE | LTCS/SS | 25mm | 300# | Flanged | Refrigerant | [5 empty] | 1 | 1 | ML3R1
| 21 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | Tubing | SG-RU0001B02 | Sight Glass | SS316/SS316 | 3/8" | NPT-F | Thraded | Refrigerant | FV/22 | -45 ~ 120 | 18.8 | -0.17 | N | 1 | 1 | Tubing
| 22 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | Tubing | YST-RU0001B02 | Strainer | SS316/SS316 | 1/2" | NPT-F 300# | Thraded (FPT) | Refigerant | FV/22 | -45 ~ 120 | 3.7 | -0.17 | N | 1 | 1 | Tubing |  |  | Mesh Screen Material: SS316 Mesh Size: 90
| 23 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | Instrument Air | RBL-RU0001B45 | BALL VALVE | SS316/SS316 | 15mm | NPT-F Rating 800# | Thraded | Lube Oil | FV/22 | -45 ~ 120 | 7 | 70 | N | 1 | 1 | Instrument Air
| 24 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | Control Valve | LCV-RU0001B-01 | BALL VALVE | SS316/SS316 | 1" |  |  |  | FV/23 | -45 ~ 121 | [5 empty] | Control Valve