## Valve List-RU0001A
Item | P&ID No. | Line Number | Tag No. | Name | Maker | Model No. (DWG NO.) | Valve Type | Body /Trim material | Connection |  |  | Fluid | Design Condition |  | Operating Condition |  | Insulation | QTY | Total | Pipe Class | Remark | Note |  | Rev.
[9 empty] | Size | Standard | Type |  | Press. (bar G) | Temp (℃) | (bar G) Press. | Temp (℃)
1 | EI027-HSE-VD-PR-PID-0002 Sht 2/7 | 6"-PR-RU0001A01-ML3R1-C | RBL-RU0001A01 |  |  |  | BALL VALVE | SS/SS | 20mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.17 | Y | 1 | 1 | ML3R1 | With Extended stem
2 | EI027-HSE-VD-PR-PID-0002 Sht 4/7 | 1 1/2"-PR-RU0001A11-ML3R1-N | FBB-RU0001A07 |  |  |  | BALL VALVE | SS/SS | 40mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1
3 | EI027-HSE-VD-PR-PID-0002 Sht 4/7 | 2"-PR-RU0001A11-ML3R1-N | FBB-RU0001A06 |  |  |  | BALL VALVE | SS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.77 | 73.39 | N | 1 | 1 | ML3R1
4 | EI027-HSE-VD-PR-PID-0002 Sht 3/7 | 2"-PR-RU0001A04-ML3R1-P | FBB-RU0001A01 |  |  |  | BALL VALVE | SS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.8 | 73.5 | Y | 1 | 1 | ML3R1 | With Extended stem
5 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 1"-PR-RU0001A15-MC3R1-N | RBL-RU0001A07 |  |  |  | BALL VALVE | SS/SS | 15mm | 300# | Flanged | Refrigerant | FV/22 | 120 | 18.8 | 73.5 | N | 1 | 1 | MC3R1
6 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 1"-PR-RU0001A16-Ml3R1-N | GLO-RU0001A02 |  |  |  | GLOBE VALVE | SS/SS | 25mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.8 | 73.5 | N | 1 | 1 | ML3R1
7 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | RU0001A-AE-01 | RBL-RU0001A29 |  |  |  | BALL VALVE | SS/SS | 25mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.8 | 73.5 | N | 1 | 1 | ML3R1 |  | Trim Line
8 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | RU0001A-AE-01 | RBL-RU0001A32 |  |  |  | BALL VALVE | SS/SS | 25mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.8 | 73.5 | N | 1 | 1 | ML3R1 |  | Trim Line
9 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 1 1/2"-PR-RU0001A07-ML3R1-N | FBB-RU0001A02 |  |  |  | BALL VALVE | SS/SS | 40mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1
10 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 2"-PR-RU0001A18-ML3R1-N | FBB-RU0001A03 |  |  |  | BALL VALVE | SS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1
11 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | RU0001A-D-02 | RBL-RU0001A05 |  |  |  | BALL VALVE | SS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1 |  | Trim Line
12 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | RU0001A-D-02 | RBL-RU0001A06 |  |  |  | BALL VALVE | SS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1 |  | Trim Line
13 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | RU0001A-D-02 | RBL-RU0001A02 |  |  |  | BALL VALVE | SS/SS | 20mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1 |  | Trim Line
14 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 1"-PR-RU0001A13-ML3R1-N | RBL-RU0001A03 |  |  |  | BALL VALVE | SS/SS | 25mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1
15 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 1"-PR-RU0001A13-ML3R1-N | RBL-RU0001A04 |  |  |  | BALL VALVE | SS/SS | 25mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1
16 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 1"-PR-RU0001A13-ML3R1-N | CHV-RU0001A04 |  |  |  | CHECK VALVE | SS/SS | 25mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1
17 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | 1 1/2"-PR-RU0001A06-ML3R1-N | RBL-RU0001A41 |  |  |  | BALL VALVE | SS/SS | 40mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | Y | 1 | 1 | ML3R1 | With Extended stem
18 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | 1 1/2"-PR-RU0001A06-ML3R1-N | RBL-RU0001A42 |  |  |  | BALL VALVE | SS/SS | 20mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | Y | 1 | 1 | ML3R1 | With Extended stem
19 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | 1 1/2"-PR-RU0001A06-ML3R1-N | GLO-RU0001A03 |  |  |  | GLOBE VALVE | SS/SS | 25mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | Y | 1 | 1 | ML3R1 | With Extended stem
20 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | 2"-PR-RU0001A09-ML3R1-C | RBL-RU0001A43 |  |  |  | BALL VALVE | SS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.86 | 0.88 | Y | 1 | 1 | ML3R1 | With Extended stem
21 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | RU0001A-E-02 | RBL-RU0001A08 |  |  |  | BALL VALVE | SS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.07 | Y | 1 | 1 | ML3R1 | With Extended stem
22 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | RU0001A-E-02 | RBL-RU0001A44 |  |  |  | BALL VALVE | SS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.07 | Y | 1 | 1 | ML3R1 | With Extended stem
23 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | RU0001A-E-02 | RBL-RU0001A09 |  |  |  | BALL VALVE | SS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.07 | Y | 1 | 1 | ML3R1 | With Extended stem | Trim Line
24 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | RU0001A-E-02 | RBL-RU0001A10 |  |  |  | BALL VALVE | SS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.07 | Y | 1 | 1 | ML3R1 | With Extended stem | Trim Line
25 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | RU0001A-E-02 | RBL-RU0001A61 |  |  |  | BALL VALVE | SS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.07 | Y | 1 | 1 | ML3R1 | With Extended stem | Trim Line
26 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | 6"-PR-RU0001A01-ML3R1-C | RBL-RU0001A47 |  |  |  | BALL VALVE | SS/SS | 20mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.17 | Y | 1 | 1 | ML3R1 | With Extended stem
27 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | 6"-PR-RU0001A01-ML3R1-C | GLO-RU0001A04 |  |  |  | GLOBE VALVE | SS/SS | 150mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.17 | Y | 1 | 1 | ML3R1 | With Extended stem
28 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | 6"-PR-RU0001A01-ML3R1-C | FBB-RU0001A73 |  |  |  | BALL VALVE | SS/SS | 15mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.17 | Y | 1 | 1 | ML3R1 | With Extended stem
29 | EI027-HSE-VD-PR-PID-0002 Sht 3/7 | 2"-PR-RU0001A04-ML3R1-P | CHV-RU0001A03 |  |  |  | CHECK VALVE | SS/SS | 50mm | 300# | RF Flanged, Wafer Type | Refrigerant | FV/22 | -29 ~ 120 | 18.8 | 73.5 | N | 1 | 1 | MC3R1 | INLINE, Dual Flapper |  | Disk Material: SS Body Material: SS SEAL / SPRING / STOP PIN: CS / Inconel / 316SS STYLE: Vertical
30 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | Instrument Air | RBL-RU0001A45 |  |  |  | BALL VALVE | SS316/SS316 | 15mm | NPT-F Rating 800# | Thraded | Lube Oil | FV/22 | -45 ~ 120 | 7 | 70 | N | 1 | 1 | Instrument Air
31 | EI027-HSE-VD-PR-PID-0002 Sht 3/7 | TUBING | SG-RU0001A01 |  |  |  | Sight Glass | SS316/SS316 | 3/8" | NPT-F | Thraded | Lube Oil | FV/22 | 120 | 18.8 | 73.5 | N | 1 | 1 | Tubing
32 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | TUBING | SG-RU0001A02 |  |  |  | Sight Glass | SS316/SS316 | 3/8" | NPT-F | Thraded | Refrigerant | FV/22 | -45 ~ 120 | 18.8 | -0.17 | N | 1 | 1 | Tubing
33 | EI027-HSE-VD-PR-PID-0002 Sht 3/7 | Tubing | YST-RU0001A01 |  |  |  | Strainer | SS | 3/8" | NPT-F 300# | Thraded (FPT) | Lube Oil | FV/22 | -29 ~ 120 | 18.8 | 73.5 | N | 1 | 1 | Tubing |  |  | Mesh Screen Material: SS316 Mesh Size: 90
34 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | Tubing | YST-RU0001A02 |  |  |  | Strainer | SS | 1/2" | NPT-F 300# | Thraded (FPT) | Refigerant | FV/22 | -45 ~ 120 | 3.7 | -0.17 | N | 1 | 1 | Tubing |  |  | Mesh Screen Material: SS316 Mesh Size: 90

## Valve List-RU0001B
Item | P&ID No. | Line Number | Tag No. | Name | Maker | Model No. (DWG NO.) | Valve Type | Body /Trim material | Connection |  |  | Fluid | Design Condition |  | Operating Condition |  | Insulation | QTY | Total | Pipe Class | Remark | Note |  | Rev.
[9 empty] | Size | Standard | Type |  | Press. (bar G) | Temp (℃) | (bar G) Press. | Temp (℃)
1 | EI027-HSE-VD-PR-PID-0002 Sht 2/7 | 6"-PR-RU0001B01-ML3R1-C | RBL-RU0001B01 |  |  |  | BALL VALVE | SS/SS | 20mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.17 | Y | 1 | 1 | ML3R1 | With Extended stem
2 | EI027-HSE-VD-PR-PID-0002 Sht 4/7 | 1 1/2"-PR-RU0001B11-ML3R1-N | FBB-RU0001B07 |  |  |  | BALL VALVE | SS/SS | 40mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1
3 | EI027-HSE-VD-PR-PID-0002 Sht 4/7 | 2"-PR-RU0001B11-ML3R1-N | FBB-RU0001B06 |  |  |  | BALL VALVE | SS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.77 | 73.39 | N | 1 | 1 | ML3R1
4 | EI027-HSE-VD-PR-PID-0002 Sht 3/7 | 2"-PR-RU0001B04-ML3R1-P | FBB-RU0001B01 |  |  |  | BALL VALVE | SS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.8 | 73.5 | Y | 1 | 1 | ML3R1 | With Extended stem
5 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 1"-PR-RU0001B15-MC3R1-N | RBL-RU0001B07 |  |  |  | BALL VALVE | SS/SS | 15mm | 300# | Flanged | Refrigerant | FV/22 | 120 | 18.8 | 73.5 | N | 1 | 1 | MC3R1
6 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 1"-PR-RU0001B16-Ml3R1-N | GLO-RU0001B02 |  |  |  | GLOBE VALVE | SS/SS | 25mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.8 | 73.5 | N | 1 | 1 | ML3R1
7 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | RU0001B-AE-01 | RBL-RU0001B29 |  |  |  | BALL VALVE | SS/SS | 25mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.8 | 73.5 | N | 1 | 1 | ML3R1 |  | Trim Line
8 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | RU0001B-AE-01 | RBL-RU0001B32 |  |  |  | BALL VALVE | SS/SS | 25mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.8 | 73.5 | N | 1 | 1 | ML3R1 |  | Trim Line
9 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 1 1/2"-PR-RU0001B07-ML3R1-N | FBB-RU0001B02 |  |  |  | BALL VALVE | SS/SS | 40mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1
10 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 2"-PR-RU0001B18-ML3R1-N | FBB-RU0001B03 |  |  |  | BALL VALVE | SS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1
11 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | RU0001B-D-02 | RBL-RU0001B05 |  |  |  | BALL VALVE | SS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1 |  | Trim Line
12 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | RU0001B-D-02 | RBL-RU0001B06 |  |  |  | BALL VALVE | SS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1 |  | Trim Line
13 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | RU0001B-D-02 | RBL-RU0001B02 |  |  |  | BALL VALVE | SS/SS | 20mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1 |  | Trim Line
14 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 1"-PR-RU0001B13-ML3R1-N | RBL-RU0001B03 |  |  |  | BALL VALVE | SS/SS | 25mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1
15 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 1"-PR-RU0001B13-ML3R1-N | RBL-RU0001B04 |  |  |  | BALL VALVE | SS/SS | 25mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1
16 | EI027-HSE-VD-PR-PID-0002 Sht 5/7 | 1"-PR-RU0001B13-ML3R1-N | CHV-RU0001B04 |  |  |  | CHECK VALVE | SS/SS | 25mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | N | 1 | 1 | ML3R1
17 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | 1 1/2"-PR-RU0001B06-ML3R1-N | RBL-RU0001B41 |  |  |  | BALL VALVE | SS/SS | 40mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | Y | 1 | 1 | ML3R1 | With Extended stem
18 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | 1 1/2"-PR-RU0001B06-ML3R1-N | RBL-RU0001B42 |  |  |  | BALL VALVE | SS/SS | 20mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | Y | 1 | 1 | ML3R1 | With Extended stem
19 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | 1 1/2"-PR-RU0001B06-ML3R1-N | GLO-RU0001B03 |  |  |  | GLOBE VALVE | SS/SS | 25mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 18.7 | 56.32 | Y | 1 | 1 | ML3R1 | With Extended stem
20 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | 2"-PR-RU0001B09-ML3R1-C | RBL-RU0001B43 |  |  |  | BALL VALVE | SS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.86 | 0.88 | Y | 1 | 1 | ML3R1 | With Extended stem
21 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | RU0001B-E-02 | RBL-RU0001B08 |  |  |  | BALL VALVE | SS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.07 | Y | 1 | 1 | ML3R1 | With Extended stem
22 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | RU0001B-E-02 | RBL-RU0001B44 |  |  |  | BALL VALVE | SS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.07 | Y | 1 | 1 | ML3R1 | With Extended stem
23 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | RU0001B-E-02 | RBL-RU0001B09 |  |  |  | BALL VALVE | SS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.07 | Y | 1 | 1 | ML3R1 | With Extended stem | Trim Line
24 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | RU0001B-E-02 | RBL-RU0001B10 |  |  |  | BALL VALVE | SS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.07 | Y | 1 | 1 | ML3R1 | With Extended stem | Trim Line
25 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | RU0001B-E-02 | RBL-RU0001B61 |  |  |  | BALL VALVE | SS/SS | 50mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.07 | Y | 1 | 1 | ML3R1 | With Extended stem | Trim Line
26 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | 6"-PR-RU0001B01-ML3R1-C | RBL-RU0001B47 |  |  |  | BALL VALVE | SS/SS | 20mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.17 | Y | 1 | 1 | ML3R1 | With Extended stem
27 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | 6"-PR-RU0001B01-ML3R1-C | GLO-RU0001B04 |  |  |  | GLOBE VALVE | SS/SS | 150mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.17 | Y | 1 | 1 | ML3R1 | With Extended stem
28 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | 6"-PR-RU0001B01-ML3R1-C | FBB-RU0001B73 |  |  |  | BALL VALVE | SS/SS | 15mm | 300# | Flanged | Refrigerant | FV/22 | -45 ~ 120 | 3.7 | -0.17 | Y | 1 | 1 | ML3R1 | With Extended stem
29 | EI027-HSE-VD-PR-PID-0002 Sht 3/7 | 2"-PR-RU0001B04-ML3R1-P | CHV-RU0001B03 |  |  |  | CHECK VALVE | SS/SS | 50mm | 300# | RF Flanged, Wafer Type | Refrigerant | FV/22 | -29 ~ 120 | 18.8 | 73.5 | N | 1 | 1 | MC3R1 | INLINE, Dual Flapper |  | Disk Material: SS Body Material: SS SEAL / SPRING / STOP PIN: CS / Inconel / 316SS STYLE: Vertical
30 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | Instrument Air | RBL-RU0001B45 |  |  |  | BALL VALVE | SS316/SS316 | 15mm | NPT-F Rating 800# | Thraded | Lube Oil | FV/22 | -45 ~ 120 | 7 | 70 | N | 1 | 1 | Instrument Air
31 | EI027-HSE-VD-PR-PID-0002 Sht 3/7 | TUBING | SG-RU0001B01 |  |  |  | Sight Glass | SS316/SS316 | 3/8" | NPT-F | Thraded | Lube Oil | FV/22 | 120 | 18.8 | 73.5 | N | 1 | 1 | Tubing
32 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | TUBING | SG-RU0001B02 |  |  |  | Sight Glass | SS316/SS316 | 3/8" | NPT-F | Thraded | Refrigerant | FV/22 | -45 ~ 120 | 18.8 | -0.17 | N | 1 | 1 | Tubing
33 | EI027-HSE-VD-PR-PID-0002 Sht 3/7 | Tubing | YST-RU0001B01 |  |  |  | Strainer | SS | 3/8" | NPT-F 300# | Thraded (FPT) | Lube Oil | FV/22 | -29 ~ 120 | 18.8 | 73.5 | N | 1 | 1 | Tubing |  |  | Mesh Screen Material: SS316 Mesh Size: 90
34 | EI027-HSE-VD-PR-PID-0002 Sht 6/7 | Tubing | YST-RU0001B02 |  |  |  | Strainer | SS | 1/2" | NPT-F 300# | Thraded (FPT) | Refigerant | FV/22 | -45 ~ 120 | 3.7 | -0.17 | N | 1 | 1 | Tubing |  |  | Mesh Screen Material: SS316 Mesh Size: 90