| Shipper/Exporter HSE Group |  |  | Purchase Order No.: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Remarks: |  |  |  |  |
| For account & risk of Messes |  |  |  |  |  |  |  |
| Consignee |  |  |  |  |  |  |  |
| Notify party |  |  |  |  |  |  |  |
| Port of loading | Final destination Assaluyeh |  | Term of Delivery : |  |  |  |  |
| Carrier ……N.A………… | Sailing on or about ……N.A…… |  | Manufacturer MYCOM |  |  | Origin Japan |  |
| Numbers of PKGS | Description of Goods |  | Total Quantity | Net weight(kg) | Gross weight(kg) |  | Serial/Heat No. N.A |
| Vendor: |  |  |  |  |  |  |  |
| Buyer: Petro Electric Energy Development Co. |  |  |  |  |  |  |  |
| End User/Client: Padjam Polymer Development Company |  |  |  |  |  |  |  |
| Vendor Signed & Stamp |  | VENDOR Name: |  |  |  |  |  |
| buyer Signed & Stamp |  | Buyer Name: Petro Electric Energy Development Co. CEO Name: |  |  |  |  |  |

Packing List

Detail Packing List

| ### PKG. No. | ### Description of Goods | ### ORD. QTY. | ### Net Weight (KG) | ### Tag Number |
| --- | --- | --- | --- | --- |
| ### 1 | ### Compressor Skid 160 V-S, Oil Pump, coupling, Thermosiphon oil Cooler, Oil separator, Oil Filter | ### 2 | 6640 | RU0001A-C-01, RU0001B-C-01 |  |
| ### 2 | ### Main Motor 120 KW | ### 2 | 1760 | RU0001A-M-01, RU0001B-M-01 |  |
| ### 3 | ### Oil pump Motor 2.5 KW | ### 2 | 40 | RU0001A-M-04, RU0001B-M-04 |  |
| ### 4 | ### Oil Heater 2 KW | ### 2 | 18 | RU0001A-H-01, RU0001B-H-01 |  |
| ### 5 | ### Filter Dryer | ### 1 | 19 | RU0001A-FT-01 |  |
| ### 6 | ### FCV | ### 4 | 2.74 | FCV-RU0001A-1, FCV-RU0001B-1 FCV-RU0001A-2, FCV-RU0001B-2 |  |
| ### 7 | ### Solenoid Valve | ### 8 | 25 | SOV-RU0001A-01A-, SOV-RU0001B-01A- SOV-RU0001A-01B-, SOV-RU0001B-01B- SOV-RU0001A-01C-, SOV-RU0001B-01C- SOV-RU0001A-01D-, SOV-RU0001B-01D- |  |
| ### 8 | ### Strainer 3/8" | ### 2 | 2.8 | YST-RU0001A01, YST-RU0001B01 |  |
| ### 9 | ### Manifold Valve 1/2" | ### 14 | 12.5 |  |  |
| ### 10 | ### Needle valve 3/8" | ### 2 | 2.5 | NV-RU0001A02, NV-RU0001B02 |  |

| Vendor Signed & Stamp | VENDOR Name: CEO Name: |
| --- | --- |
| buyer Signed & Stamp | Buyer Name: Petro Electric Energy Development Co. CEO Name: |

| ### PKG. No. | ### Description of Goods | ### ORD. QTY. | ### Net Weight (KG) | ### Tag Number |
| --- | --- | --- | --- | --- |
| ### 11 | ### Pressure Gauge ½" | ### 2 | 4 | PG-RU0001A-01, PG-RU0001B-01 |
| ### 12 | ### Pressure Transmitter ½" | ### 2 | 4 | PIT-RU0001A-01; PIT-RU0001B-01 |
| ### 13 | Pressure Transmitter ½" | ### 8 | 16 | PIT-RU0001A-02; PIT-RU0001B-02 PIT-RU0001A-03; PIT-RU0001B-03 PIT-RU0001A-05; PITRU0001B-05 PIT-RU0001A-06; PIT-RU0001B-06 |
| ### 14 | Pressure Transmitter ½" | ### 2 | 4 | PIT-RU0001A-04, PIT-RU0001B-04 |
| ### 15 | Temperature Transmitter ½" | ### 2 | 4.5 | TIT-RU0001A-01 TIT-RU0001B-01 |
| ### 16 | Temperature Transmitter ½" | ### 2 | 4.5 | TIT-RU0001A-02; TIT-RU0001B-02 |
| ### 17 | Temperature Transmitter ½" | ### 2 | 4.5 | TIT-RU0001A-03; TIT-RU0001B-03 |
| ### 18 | Potentiometer | ### 2 | 2 | ZT-RU0001A-01; ZT-RU0001B-01 |
| ### 19 | Level Switch | ### 2 | 3.5 | LS-RU0001A-01; LS-RU0001B-01 |
| ### 20 | LCP | ### 2 | 40 | RU001A-LCP-01 & RU001B-LCP-01 |
| ### 21 | JB | ### 2 | 28 | JBD-A-RU0001A-01 & JBD-A-RU0001B-01 |
| ### 22 | JB | ### 2 | 13 | JBD-A-RU0001A-02 & D-A-RU0001B-02 |
| ### 23 | Sight Glass | ### 2 | 3 | SG-RU0001A01, SG-RU0001B01 |

Master Packing List

| ### PKG. No. | ### Description of Goods | ### ORD. QTY. | Net- weight ### (KGS) | Gross- weight ### (KGS) | Size ### (CM x CM x CM) | ### Serial No./Heat No. |
| --- | --- | --- | --- | --- | --- | --- |
| ### 1 | Compressor Skid 160 V-S, Oil Pump, coupling, Thermosiphon oil Cooler, Oil separator, Oil Filter, Motors, Instruments, JB & LCP, Tubing, piping, oil Heater Unit A | ### 1 | 4327 | 4520 | 3.10 X 1.70 X 2.50 |  |
| ### 2 | Compressor Skid 160 V-S, Oil Pump, coupling, Thermosiphon oil Cooler, Oil separator, Oil Filter, Motors, Instruments, JB & LCP, Tubing, piping, oil Heater Unit B | ### 1 | 4327 | 4520 | 3.10 X 1.70 X 2.50 |  |