| NO. | Pack No. | Pack Typ | QTY | Description | Weight |  | VOLUME ( m3 ) | DIMENSION (cm) | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Gross | Net |  |  |  |
|  |  |  |  |  |  |  |  | LxWxH |  |
| 1 | Pack No.: 1 of 3 | Skid with Tarpaulin | 1 Piece | Compressor Skid A included: Compressor 160 V-S, Compressor Motor, Oil pump Motor, Oil Pump, coupling, Thermosiphon oil Cooler, Oil separator, Oil Filter, Instruments, JB & LCP, Tubing, Piping, oil Heater, Earthing Cable, Instrument Cable, Coupling Cover, Compressor Skid and Its support, Solenoid Valves for Capacity Control, FCV’s Instrument Device: Pressure Transmitter: PIT-RU0001A-01 Pressure Transmitter: PIT-RU0001A-02 Pressure Transmitter: PIT-RU0001A-03 Pressure Transmitter: PIT-RU0001A-05 Pressure Transmitter: PIT-RU0001A-06 Pressure Transmitter: PIT-RU0001A-04 Temperature Transmitter: TIT-RU0001A-01 Temperature Transmitter: TIT-RU0001A-02 Temperature Transmitter: TIT-RU0001A-03 Potentiometer: ZT-RU0001A-01; ZT Level Switch: LS-RU0001A-01 Needle Valve: NV-RU0001A02 | 4327 | 4520 | 13.175 | 310X170X250 | Main Item |
| 2 | Pack No.: 2 of 3 | Skid with Tarpaulin | 1 Piece | Compressor Skid B included: Compressor 160 V-S, Compressor Motor, Oil pump Motor, Oil Pump, coupling, Thermosiphon oil Cooler, Oil separator, Oil Filter, Instruments, JB & LCP, Tubing, Piping, oil Heater, Earthing Cable, Instrument Cable, Coupling Cover, Compressor Skid and Its support, Solenoid Valves for Capacity Control, FCV’s Instrument Device: Pressure Transmitter: PIT-RU0001B-01 Pressure Transmitter: PIT-RU0001B-02 Pressure Transmitter: PIT-RU0001B-03 Pressure Transmitter: PITRU0001B-05 Pressure Transmitter: PIT-RU0001B-06 Pressure Transmitter: PIT-RU0001B-04 Temperature Transmitter: TIT-RU0001B-01 Temperature Transmitter: TIT-RU0001B-02 Temperature Transmitter: TIT-RU0001B-03 Potentiometer: ZT-RU0001B-01 Level Switch: LS-RU0001B-01 Needle Valve: NV-RU0001B02 | 4327 | 4520 | 13.175 | 310X170X250 | Main Item |
| 2 | Pack No.: 3 of 3 | Wooden Box | 2 Pcs | Instrumentation Device: Level Transmitter: LG-RU0001A-03 Level Transmitter: LG-RU0001B-03 | 83 | 59 | 0.61 | 220X48X58 | Loose Item |
| 3 |  |  | 2 Pcs | Ejector- Venturie, RU0001 A-EJ-01, RU0001 B-EJ-01 | 1 | 1 | 0.004 | 20x15x15 | Loose Item |
| 4 |  |  | 1 Pcs | Liquid Line Filter Dryer, RU0001A-FT-01 | 21.50 | 19 | 0.075 | 56X45X30 | Loose Item |
| 5 |  |  | 2 Pcs | Exi Indicator with Stop valve | 30 30 | 25 25 | 0.096 0.096 | 60X40X40 60X40X40 | Loose Item |
| 6 |  |  | 4 Pcs | Solenoid Valve SOV-RU0001A-03, SOV-RU0001B-03 SOV-RU0001A-02, SOV-RU0001B-02 | 8.5 | 8 | 0.04 | 25X40X40 | Loose Item |
| 7 |  |  | 4 Pcs | Junction Box JBD-A-RU0001A-03 & JBD-A-RU0001B-03 JBD-A-RU0001A-04 & JBD-A-RU0001B-04 | 35 | 30 | 0.211 | 65X65X50 | Loose Item |
| 8 |  |  | 1 batch | Instrument Fittings included: Stub, Union Elbow, Connector, Adaptor, Nipple, Plug | 50 | 45 | 0.1 | 45X40X40 | Loose Item |
| 9 |  |  | 2 Pcs | Instrumentation Device: Pressure Gauge: PG-RU0001A-01, PG-RU0001B-01 | 4 | 3 | 0.04 | 25X40X40 | Loose Item |
| 10 |  |  | 6 Pcs | Needle Valve: NV-RU0001A03, NV-RU0001B03 NV-RU0001A04, NV-RU0001B04 NV-RU0001A05, NV-RU0001B05 | 2.5 | 3 | 0.02 | 25X30X30 | Loose Item |