## Resolution Sheet
PROJECT:
COMMENT RESOLUTION SHEET FOR: |  |  |  |  | DOC TITLE: | DOC No:
[5 empty] | Index of IOM | N-278-VD-6019-GN-LIS-0021-01 (17735-20)
Item no. | Page | Revision | Status | Client Comments | AirPack's Reply #1 | Client Reply #1 | AirPack's Reply #2 | Client Reply #2
1 | 1 | 01 | Closed | Operating manual document shall include procedure for following stages: -Pre-commissioning -Commissioning -start-up -shutdown. | Title of section is C is adjusted | Closed
2 | 3 | 01 | Closed | Out of scope vendor | Correct and removed
3 | 3 | 01 | Closed | SG should be added | This is a Sight Glass which basically is just a little round glas window to look through. There is no IOM for this because it is not needed.
4
5