## Resolution Sheet
PROJECT:
COMMENT RESOLUTION SHEET FOR: |  |  |  |  | DOC TITLE: | DOC No:
[5 empty] | Index of IOM | N-278-VD-6019-GN-LIS-0021-01 (17735-20)
Item no. | Page | Revision | Status | Client Comments | AirPack's Reply #1 | Client Reply #1
1 | 3 | 2 | closed | It is assumed oil pump will be describe in compressor section. Otherwise, separate section to be added | Yes, that is correct the oil pump is included in the compressor section.
2
3
4
5