## Resolution Sheet
|  |  |  | PROJECT: | Integrated Methanol and Ammonia Plant
COMMENT RESOLUTION SHEET FOR: |  |  |  |  | DOC TITLE: | DOC No:
[5 empty] | Instrument Hook-up Drawing | N-278-VD-6019-IN-DWG-0035-01 (17735-38)
Item no. | Reference | Revision | Status | Client Comments | AirPack's Reply #1 | Client Reply #1 | AirPack's Reply #2 | Client Reply #2
1 | 3 | 01 |  | - Any changes in next revision to be marked with revision mark. - If any comments is not applicable please send reply sheet. - Compatibility with other vendor documents including mechanical part document, data sheet, and purchased instrument is vendor responsibility and scope. - This document will be checked again after finalizing PID, and datasheet document. - Reference document should be mentioned. - All Tag name in all documents should be same format. no needs "-" after prefix 320. example correct format is 320TT-8203, ... . - All required accessories should be supplied by vendor. | - Noted. Changes will be marked; - Noted; - Noted; - Noted; - Noted. Reference document will be mentioned; - Noted. Tag name will be updated accordingly; - Noted.
2 | 4 | 01 |  | 320TG-8206 is not existing in PID. | As per P&ID and intrument datasheet, 320TG-8206 located in the inlet pulsation damper.
3 | 7 | 01 |  | Plz clarify why Capillary is used for TT ?.it has discrepancy with data sheet. | As per instrument datasheet, TT has a 5m long capillary cable connected on temperature element.
4
5
6
7 | [8 empty] | Open
8 | [8 empty] | Closed
9
10
11
12
13
14
15
16
17
18
19
20