## COMMENT REPLY SHEET
|  | Comment Reply Sheet |  |  | BUSHEHR PETROCHEMICAL COMPANY
Con. No.:
[5 empty] | Issue Date: 12/Nov/2021 | Rev.:01
|  | Comment Sheet Ref.No.: | Doc Description: CAUSE & EFFECT CHART LIST FOR EMERGENCY INSTRUMENT AIR COMPRESSOR
|  | Transmittal No.: APCES-V-00050 | Doc. No.: BU-20-VD-303-PR-LST-0092
|  | Transmittal Date: 12/Nov/2021 | Doc Rev.: 01
Item | CHCE Comment |  |  | Vendor Clarification
1 | - Reply sheet to be submitted by vendor. - Prerequisite documents such as I/O List shall be sent before this document. - following signals to be considered in C&E : • I-715-MOS-1 • HS-715-1R-1 |  |  | -Noted - Have been submitted - Not required as per previous discussions
2 | ESD |  |  | Noted and updated
3 | XAL-108-2 |  |  | Noted and updated
4