## COMMENT REPLY SHEET
|  | Comment Reply Sheet |  |  | BUSHEHR PETROCHEMICAL COMPANY
Con. No.:
[5 empty] | Issue Date: 14/Jul/2022 | Rev.:05
|  | Comment Sheet Ref.No.: | Doc Description: LOGIC DIAGRAMS-PROGRAM OF UCP - COMPRESSOR SHUTDOWN LOGIC DRAWING FOR NITROGEN GAS BOOSTER
|  | Transmittal No.: APCES-V-00163 | Doc. No.: BU-20-VD-303-IN-DIG-0035
|  | Transmittal Date: 14/Jul/2022 | Doc Rev.: 05
Item | CHCE Comment |  |  | Vendor Clarification
1 | Repeated Comment "S/D status", description shall be modified. |  |  | Updated.
2