## Resolution Sheet
|  |  |  | PROJECT: | ABT 360 KT/Y PP PLANT Project
COMMENT RESOLUTION SHEET FOR: |  |  |  |  | DOC TITLE: | DOC No:
[5 empty] | Control philosophy | L03-RE037-IN-PHY-001 (23249-21)
Item no. | Reference | Revision | Status | Client Comments | AirPack's Reply #1 | Client Reply #1 | AirPack's Reply #2 | Client Reply #2
1 |  |  |  | Propylene is our fluid. | Agreed and updated. Table of contents was not updated, not its all aligned.
2 |  |  |  | This control valve and pipeline is in the client's scope of work. Does this valve play a role in your control system? Do you need feedback on it? | no, so for Airpack the compressor will provide (load) or run unloaded. (0 or 100%). The start stop can be remotely controlled. When in load with a bypass over the compressor flow from the outlet can be directed to the inlet of the compressor and therefor regulate the outlet pressure. THis control valve doesnt play a role in Airpack control system and we dont need feedback on it.
3
4
5
6
7 | [8 empty] | Open
8 | [8 empty] | Closed
9
10
11
12
13
14
15
16
17
18
19
20